## Slide 1
Sviluppo e validazione di un sistema digitale per acquizione sincrona di fase e polarizzazione per sensing in ambiente urbano
Student:
Egle Antonucci s347960
A.Y. 2025-26
Full title of the project
Professors:
Vittorio Curri
Cecilia Clivati

## Slide 2: Obiettivo
PM1000 Polarimeter Novoptel
RedPitaya SIGNALlab 250-12
2
STM32H745
Sviluppare un sistema di acquisizione integrato e validato per la misura simultanea di SOP e fase su fibra, in cui un polarimetro e un analizzatore di fase operano sincronizzati su un'unica base temporale, progettato per esperimenti di lunga durata in condizioni reali.
Reference: Donadello et al. - 2023 - Embedded Digital Phase Noise Analyzer for Optical Frequency Metrology

## Slide 3: Schema di timestamping
3
FPGA
STM32
PM1000
Vppmin= 1.5 V
10 MHz
fase
Stokes

## Slide 4: Acquisition modes
Pros
Configuration
Cons
Manual recording mode
Continuous data stream.
SYNC_EXT_RISE = 0 rearm = 1
rearm_dno = 1
No timestamps.
Triggered recording mode
Only one timestamp per recorded block.
SYNC_EXT_RISE = 1
CYCLIC = 1
rearm = 1
rearm_dno = 1
Discontinuous stream;
Pre-trigger mechanism wastes memory.
Dynamic Undersampling
DYN_UNDERSAMPLE = 1
rearm = 1
rearm_dno =1
Continuous data stream.
High memory overhead: 50% of SDRAM used for timestamps.
LIMITATION
Because the PM1000 lacks an internal real-time clock, all standard modes fail to provide the absolute timestamps required for phase data synchronization.
4

## Slide 5: Modified Manual Recording
Configuration
SYNC_EXT_RISE = 1
rearm = 1
rearm_dno = 1
CYCLIC = 0
DYN_UNDERSAMPLING = 0
SYNC_EXT_FALL = 0
TRIG_NEXT_BNC = 0
PPS_SYNC_EXT = 0
PPS_EXT_INT = 0
…
pm.write(BASE+82,old_block_nr)
Long, continuous acquisition
Syncronization
Exactly one SOP sample recorded for every rising edge on BNC connector.
Timestamps
The exact time of the first SOP sample is known with high precision.
ATE
ATE is still applied purely to average samples and improve SNR.
5
?

## Slide 6: Sistema di acquisizione: testing
6

## Slide 7: Allineamento al fronte di salita
7

## Slide 8: Sincronizzazione FPGA-PM1000: segnale ideale
8

## Slide 9: Schema di acquisizione: Anello urbano INRiM
9

## Slide 10: PSD SOP: Anello urbano INRiM (24 h)
10

## Slide 11: PSD frequency: Anello urbano INRiM (24 h)
11

## Slide 12: PSD SOP con diversi livelli di Pin
12

## Slide 13: Errore ADC
=
13

## Slide 14: PSD SOP con diversi livelli di Pin
14

## Slide 15: Caratterizzazione del rumore in funzione di Pin
15

## Slide 16: PSD SOP diversi valori di ATE
Credo di essere nella black list di Ben 
16

## Slide 17: Quantizzazione
17

## Slide 18: Istogramma diff(S1)
18

## Slide 19: Si accettano consigli
19

## Slide 20: Sensing Edificio A – INRiM: sincronizzazione
20

## Slide 21: Sensing Edificio A - INRiM
21

## Slide 22: Sensing Edificio A - INRiM
22

## Slide 23: Sensing Edificio A - INRiM
23

## Slide 24: Terremoto
5 km N San Damiano Macra (CN), Mw 3.3, 09/08/2026 00:10:34 (UTC+02:00)
24

## Slide 25: Terremoto
5 km N San Damiano Macra (CN), Mw 3.3, 09/08/2026 00:10:34 (UTC+02:00)
25

## Slide 26: THANKS FOR YOUR ATTENTION