## Slide 1
Acquisizione Sincronizzata per Dati di SOP e Fase
Validazione Sperimentale su Collegamento Urbano
Student:
Egle Antonucci s347960
A.Y. 2025-26
Full title of the project
Professors:
Vittorio Curri
Cecilia Clivati

## Slide 2: Obiettivo
PM1000 Polarimeter Novoptel
RedPitaya SIGNALlab 250-12
2
STM32H745
Sviluppare un sistema di acquisizione integrato e validato per la misura simultanea di SOP e fase su fibra, in cui un polarimetro e un analizzatore di fase operano sincronizzati su un'unica base temporale, progettato per esperimenti di lunga durata in condizioni reali.
Reference: Donadello et al. - 2023 - Embedded Digital Phase Noise Analyzer for Optical Frequency Metrology

## Slide 3: Schema di timestamping
3
FPGA
STM32
PM1000
Vppmin= 1.5 V
10 MHz
fase
Stokes

## Slide 4: Architettura Software
Application
Controllo
Protocollo
Trasporto
Hardware
5
4
3
2
1
start_recording()
get_sdram_raw()
get_SOP_1PPS()
h5_hourly_writer()
Main acquisition loop
4

## Slide 5: Architettura Software
Application
Controllo
Protocollo
Trasporto
Hardware
5
4
3
2
1
Class PM1000
Configurazione set_ME, set_ATE
Acquisizione start_recording
Lettura dati get_rec_block
Class PM1000_transport PyD3XX
Packet:
CMD
16 bit
ADDR
12 bit
DATA
16 bit
CRC
16 bit
5

## Slide 6: Architettura Software
Application
Controllo
Protocollo
Trasporto
Hardware
5
4
3
2
1
PyD3XX
API principali: FT_create, FT_WritePipe, FT_ReadPipe
Reference:https://www.scribd.com/document/1010289409/PyD3XX-Library-Guide
PM1000 + USB3
6

## Slide 7: Struttura file .h5
7

## Slide 8: Index-based Sample Loss Detection
6
Memory buffer
Block 0
Block 1
Block 2
Block N
N = 227-ME
…
Start_time
Time_xo = start_time +
0
1
2
n=2ME
…
0
1
2
n
…
n+1
j =
Index_real = block_id*n + j
block_id
…
write
read
0
1
2
…
n+1
Index_ideal += 1

## Slide 9
Timer_NTP
Start_time_NTP
Misurato alla creazione del gruppo
End_time_NTP
Misurato alla chiusura dell’ultimo blocco del gruppo
Timer_xo
Tot_samples/fs
Time-based Sample Loss Detection
-
-
diff
7

## Slide 10: Sistema di acquisizione SOP e fase
Optical link
Electrical link
10

## Slide 11: Performance in High-Sensitivity mode
8

## Slide 12: SOP fibra urbana INRiM
11

## Slide 13: Misure di fase FPGA – STM32 su fibra urbana INRiM
FPGA dataset: 20260619_13_17_30, 20260619_14_17_30
STM32 dataset: 1
12

## Slide 14: Misure di fase FPGA – STM32 su fibra urbana INRiM
8

## Slide 15: Misure di fase FPGA – STM32 su fibra urbana INRiM
14

## Slide 16: Misure di fase FPGA – STM32 su fibra urbana INRiM
13
Reference: Donadello et al. - 2023 - Embedded Digital Phase Noise Analyzer for Optical Frequency Metrology

## Slide 17: FFT sullo zoom con residui
8

## Slide 18: THANKS FOR YOUR ATTENTION